Dear Jonas,

Good day. I'm Ziyi, one of the PICs for our digitalisation project.

As shared by my colleagues previously, we are exploring to implement a QR code on the panels we produce. When scanned by end users or internal staffs, the QR code would provide access to relevant information, including but not limited to:

- Panel specifications

- Panel drawings

- Relevant reports

- Maintenance service management

- Monitoring system

Some key features may be required for this QR system:

- Instructions for user to download the app / register the software

- User access control

- Scheduled and automated notifications

Further requirement details can be found in the attached documents.

We would appreciate your input on the feasibility, system architecture, indicative timeline, estimated cost for developing such system based on your experience.

To add on the background shared below, we're exploring the software solutions for the monitoring system.

The expected functions of the monitoring system shall include, but are not limited to:

- Monitoring of key panel parameters

- Trend analysis with recommendations

- Live operating status

- Health status with potential issue alerts

- Automated notifications

We are open to hearing any suggestions or recommendations you may have for this system.