Based on the Schneider EcoStruxure Asset Advisor (EAA-ED) framework and your requirements for a multi-vendor orchestration platform, I have designed **CANUnited Asset Manager**—a vendor-neutral digital ecosystem for electrical distribution asset intelligence.

Below is the comprehensive technical architecture, UI/UX schema, and Product Requirements Document (PRD).

---

# CANUnited Asset Manager: Technical Specifications & Product Design

## 1. Executive Vision

**Product Positioning**: CANUnited serves as the "Switzerland Layer" for electrical infrastructure—a neutral orchestration plane that unifies Schneider Electric, ABB, Bosch Rexroth, Siemens, Eaton, and generic IoT sensors into a single digital twin environment.

**Core Value Proposition**: While EAA-ED delivers value through Schneider-specific expertise, CANUnited delivers **cross-vendor correlation intelligence**—detecting failure propagation across heterogeneous equipment (e.g., detecting that an ABB breaker trip correlates with abnormal partial discharge in adjacent Schneider switchgear).

---

## 2. Technical Architecture & Specifications

### 2.1 Multi-Layer Data Architecture

```

┌─────────────────────────────────────────────────────────────┐

│                    CANUnited Cloud Plane                    │

│  [Vendor-Neutral Analytics]  [AI/ML Engine]  [CMMS APIs]    │

└──────────────┬──────────────────────────────────────────────┘

│ HTTPS/MQTT-TLS

┌──────────────▼──────────────────────────────────────────────┐

│                 Edge Orchestration Layer                    │

│  Schneider PAS600  │  ABB Ability Edge  │  Bosch IoT Suite  │

│  Custom Gateways   │  Modbus Collectors │  MQTT Brokers     │

└──────────────┬──────────────────────────────────────────────┘

│ Multi-Protocol

┌──────────────▼──────────────────────────────────────────────┐

│                Physical Asset Layer                         │

│  MV Switchgear  │  Transformers  │  LV Panels  │  Sensors   │

└─────────────────────────────────────────────────────────────┘

```

### 2.2 Protocol Abstraction Engine (PAE)

**Canonical Data Model**: All vendor data normalized to IEC 61850-7-4 logical nodes where applicable, with extensions for proprietary metrics.

| Vendor | Native Protocol | CANUnited Adapter | Data Mapping |

|--------|----------------|-------------------|--------------|

| **Schneider** | Modbus TCP, Zigbee (CL110), EcoStruxure Cloud | PAS600 Bridging Agent | Micrologic trip units → CILO/XCBR logical nodes |

| **ABB** | ABB Ability SDK, IEC 61850, Modbus | ABB Edge Connector | Emax Ekip → Custom breaker profile |

| **Bosch** | Bosch IoT Suite (MQTT), Sigfox | Bosch Gateway Agent | Heat sensor clusters → Environmental node |

| **Siemens** | SENTRON PAC, PROFINET | SENTRON Adapter | 3VA/3WL breakers → SISN logical nodes |

| **Generic** | Modbus RTU, BACnet, OPC-UA | Universal Agent | User-defined tag mapping |

### 2.3 The "Digital Twin Mesh"

Unlike Schneider's hierarchical tree, CANUnited implements a **Graph Topology Engine**:

- **Nodes**: Assets (breakers, transformers, sensors) with polymorphic schemas

- **Edges**: Electrical relationships (feeder, upstream/downstream), physical proximity, and communication topology

- **Cross-Vendor Correlation**: Algorithms detect that vibration in a Siemens busbar affects adjacent Schneider breaker timing

**Asset Ontology Example**:

```json

{

"asset_id": "TX-001",

"canonical_type": "power_transformer",

"vendor_implementation": {

"oem": "schneider_electric",

"model": "trihal_cast_resin",

"native_data_points": ["winding_temp_a", "winding_temp_b"]

},

"unified_metrics": {

"health_index": 0.89,

"thermal_ageing_rate": "normal",

"insulation_health": "good"

}

}

```

### 2.4 Universal IoT Sensor Framework

**Environmental Monitoring Node** (equivalent to CL110/HeatTag but vendor-agnostic):

| Feature | CANUnited Standard | Schneider CL110 Equivalent | Bosch Equivalent |

|---------|-------------------|---------------------------|------------------|

| **Communication** | Zigbee 3.0, LoRaWAN, WiFi | Zigbee Green Power | LoRaWAN/Sigfox |

| **Mounting** | Magnetic + DIN rail | 4-point magnet | Varies |

| **Measurements** | Surface temp, ambient RH, dew point, air quality index | Surface temp, ambient RH, dew point | Air quality, temp |

| **Overheating Detection** | Multi-sensor fusion (temp + gas particle + humidity) | HeatTag (gas sensing) | Custom algorithm |

| **Range** | 100m LoS / 40m metallic | 40m metallic / 100m external antenna | LoRaWAN range |

**Gateway Requirements** (Comparable to PAS600/800):

- **Compute**: ARM Cortex-A72, 4GB RAM minimum (to run containerized vendor agents)

- **Protocols**: Simultaneous Modbus TCP Server (64 clients), MQTT Broker, Zigbee Coordinator (100+ nodes), BACnet/IP

- **Edge Analytics**: Local rules engine for <10ms latencies on critical safety interlocks

- **Resilience**: Store-and-forward buffer for 30 days of edge data during cloud outages

### 2.5 Analytics Engine: "Cross-Vendor Health Intelligence"

**Unified Health Algorithm (UHA)**:

Instead of Schneider's 1-5 scale, CANUnited uses a **0-100 Health Score** with four sub-indices:

1. **Electrical Health** (0-25): Normalized from vendor-specific wear models

- Schneider: Uses Micrologic contact wear algorithms

- ABB: Emax Ekip Power Controller wear curves

- Generic: I²t cumulative damage models

2. **Thermal Health** (0-25): Based on hotspot analysis across all available sensors

3. **Insulation Health** (0-25): Partial discharge analysis normalized to IEC 60270, regardless of sensor brand (Schneider PD sensors vs. Omicron-compatible sensors)

4. **Mechanical Health** (0-25): Breaker mechanical operation timing analysis, normalizing Schneider's "Opening Time" vs ABB's "Operating Time" to a unified mechanical degradation curve

**Predictive Models**:

- **Vendor-Specific Aging Models**: Containerized physics models for each OEM's unique failure modes

- **Cross-Vendor Correlation**: ML models identify that failing ABB VFDs cause harmonic distortion affecting nearby Schneider breakers

---

## 3. UI/UX Schema & Design System

### 3.1 Information Architecture

**Primary Navigation Philosophy**: **"Topology-Aware Context Switching"**—Users navigate the electrical single-line diagram first, then access vendor-specific details.

```

[Dashboard: Fleet Overview]

↓

[Site Topology: Single-Line Diagram] ← Color-coded by vendor (Schneider=Green, ABB=Red, Generic=Blue)

↓

[Asset Detail View: Vendor-Neutral + OEM-Specific Tabs]

↓

[Analytics: Comparative Analysis (A vs B vendor performance)]

```

### 3.2 Key Screen Designs

#### Screen 1: Universal Fleet Command Center

**Purpose**: EAA-ED provides Schneider-only health; CANUnited shows **cross-vendor risk correlation**.

**Layout**:

- **Left Panel**: Stacked bar chart showing "Risk by Vendor" (neutral colors—no brand bias)

- **Center**: Topological graph view (force-directed layout showing electrical relationships)

- Nodes sized by criticality, colored by health score (Red=Aging, Green=Healthy, Blue=Unknown)

- **Innovation**: Highlight "cross-vendor risk paths"—orange glowing lines showing fault propagation between different OEM equipment

- **Right Panel**: "Orchestration Queue"—active maintenance windows across all vendors, prioritized by system-level risk (not just individual asset risk)

#### Screen 2: Vendor Comparison Matrix

**Unique to CANUnited**: Side-by-side performance analytics comparing functionally equivalent assets from different vendors under similar load conditions.

- **Input**: User selects "MV Circuit Breakers, 1250A class"

- **Output**: Parallel coordinate plot showing Schneider Masterpact vs ABB Emax vs Siemens 3WL

- Metrics: Mean time between maintenance, trip consistency, thermal performance under harmonic loads

- Use case: Procurement decisions and lifecycle planning

#### Screen 3: The "Translation Layer" Interface

**Problem**: Field technicians speak vendor-specific languages.

**Solution**: Asset detail view with **Canonical Display + OEM Vernacular Toggle**

*Example*:

- **Canonical**: "Mechanical Wear Index: 23%"

- **Toggle ON**: Schneider context: "Contact Erosion: 23% (Micrologic 6.0A)"

- **Toggle ON**: ABB context: "Operation Counter: 8,400 ops (Ekip Hi-Touch)"

#### Screen 4: Multi-Vendor Sensor Installation Wizard

**Flow**:

1. Scan QR code on physical sensor (any vendor)

2. System auto-identifies: "Schneider CL110 detected" or "Bosch CISS detected"

3. Shows **installation location guidance** on electrical cabinet CAD drawing

4. Auto-configures appropriate gateway (PAS600 for Schneider, Bosch Hub for Bosch)

5. **Unified calibration**: Regardless of sensor brand, user sets alert thresholds in canonical terms (e.g., "Dewpoint Alert at 5°C below ambient")

### 3.3 Mobile Field Experience (AR-Enabled)

**Technician AR View**: Point tablet at electrical room:

- **Floating tags** above each panel showing **vendor-agnostic critical alerts** (Red/Yellow/Green)

- **Tap Schweizer panel**: See Schneider-specific data (CL110 readings, breaker wear)

- **Tap adjacent ABB panel**: See ABB Ability data stream

- **Unified Work Order**: Single pane for a maintenance task affecting both panels (e.g., "Busbar inspection—de-energize both Schneider feeder and ABB incomer")

### 3.4 Design System Specifications

- **Color Palette**: Neutral industrial dark mode (Slate 900) with vendor-indicating accent colors (no Schneider green dominance)

- Health: Emerald (Good), Amber (Caution), Rose (Critical), Zinc (Unknown/Offline)

- Vendors: Assigned consistent but non-dominant hues (Schneider=#00B050 subtle, ABB=#FF0000 subtle, etc.)

- **Typography**: Inter/Roboto Mono for data readability, strict tabular figures for sensor readings

- **Iconography**: IEC 60617 symbols for electrical components, overlaid with small vendor badges (Schneider "S", ABB "A", etc.)

---

## 4. Product Requirements Document (PRD)

### 4.1 Functional Requirements (FR)

#### FR-1: Universal Device Onboarding

- **FR-1.1**: Auto-discovery via Modbus TCP/RTU, BACnet, IEC 61850, OPC-UA, MQTT

- **FR-1.2**: Zero-config onboarding for Schneider PAS600, ABB Ability Edge, Bosch IoT Gateway

- **FR-1.3**: Manual entry mode for legacy equipment with data import (Excel/CSV)

- **Acceptance**: New vendor device type can be integrated in <4 hours via SDK

#### FR-2: Normalized Health Intelligence

- **FR-2.1**: Calculate Unified Health Score (0-100) for:

- LV/MV Breakers (Schneider Masterpact/ComPact, ABB Emax/Tmax, Siemens 3VA/3WL, Eaton Power Defense)

- Transformers (Dry-type: Schneider Trihal, ABB Resibloc, Siemens GEAFOL; Oil-filled: all major OEMs)

- Busways/Ducts

- **FR-2.2**: Vendor-specific sub-health views accessible via toggle

- **FR-2.3**: Cross-asset impact analysis: "Schneider Fe A overload affects ABB Transformer B thermal aging"

#### FR-3: Advanced Analytics & Predictive Maintenance

- **FR-3.1**: Partial discharge trend analysis (compatible with Schneider PD sensors, Omicron, Doble)

- **FR-3.2**: Thermal imaging data integration (FLIR, Bosch visual thermometers) mapped to CL110-type ambient sensors

- **FR-3.3**: Remaining Useful Life (RUL) prediction with confidence intervals per vendor physics models

- **FR-3.4**: Maintenance orchestration: Route work orders to correct OEM service teams (Schneider Services vs ABB ServiceForce) based on asset vendor

#### FR-4: Environmental Monitoring (Multi-Vendor Sensor Fusion)

- **FR-4.1**: Support Schneider CL110 (Zigbee), Bosch CISS (LoRa), generic 4-20mA sensors

- **FR-4.2**: Dewpoint calculation across all temp/RH sensors regardless of brand

- **FR-4.3**: Overheating early detection: Fuse Schneider HeatTag gas detection with Bosch particle sensors for multi-factor fire risk assessment

#### FR-5: Integration & Orchestration

- **FR-5.1**: CMMS integration: SAP PM, IBM Maximo, ServiceNow

- **FR-5.2**: OEM Cloud Bridging: Send commands to Schneider EcoStruxure Cloud, ABB Ability, Siemens MindSphere without leaving CANUnited interface

- **FR-5.3**: SCADA synchronization: Bi-directional data sync with existing Ignition, Wonderware, or WinCC systems

### 4.2 Non-Functional Requirements (NFR)

#### NFR-1: Performance & Scale

- **Latency**: <2s for dashboard refresh, <10s for AI inference on batch data

- **Throughput**: Support 10,000 assets per site, 100 sites per tenant

- **Edge autonomy**: 30-day local data buffering, 7-day analytics capability during cloud outages

#### NFR-2: Security & Compliance

- **Encryption**: TLS 1.3 for transport, AES-256 for data at rest

- **Zero Trust**: mTLS between edge gateways and cloud; no inbound firewall rules required

- **Compliance**: IEC 62443-3-3 (Industrial Cybersecurity), GDPR for EU deployments, SOC 2 Type II

- **Access Control**: Role-based (Asset Manager, Reliability Engineer, Field Tech, OEM Service Partner) with asset-level permissions

#### NFR-3: Reliability

- **Availability**: 99.95% SLA for cloud platform

- **Data retention**: Hot storage 2 years, warm 5 years, cold archive 10 years

- **Backup**: Geographic redundancy across 3 availability zones, RPO <15 minutes

#### NFR-4: Usability

- **Localization**: EN, DE, FR, ES, CN, JP (matching major OEM markets)

- **Accessibility**: WCAG 2.1 AA compliance for field technician interfaces

- **Training**: <4 hours to proficiency for technicians familiar with EAA-ED or ABB Ability

### 4.3 User Personas & Stories

**Persona 1: Marcus, Global Reliability Director (Manufacturing)**

- **Pain**: Has Schneider breakers, ABB transformers, and Bosch sensors across 12 plants—cannot get unified reliability metrics

- **Story**: "As Marcus, I want to see a global health comparison between Schneider and ABB assets in the same voltage class so that I can standardize procurement on the most reliable brand for our specific duty cycles."

**Persona 2: Elena, Electrical Maintenance Lead**

- **Pain**: Uses 3 different apps for 3 different OEMs—misses correlations

- **Story**: "As Elena, I want to receive a single alarm that correlates a Schneider transformer temperature rise with a harmonics spike from an ABB drive so that I don't chase false root causes."

**Persona 3: Kenji, OEM Service Partner (Schneider Electric Field Service)**

- **Pain**: Accesses customer data through Schneider portals, but misses adjacent non-Schneider context

- **Story**: "As Kenji, I want to view Schneider asset data within CANUnited so that I can see if nearby ABB equipment caused the fault condition before dispatching to site."

### 4.4 Competitive Differentiation Matrix

| Feature | Schneider EAA-ED | ABB Ability EDCS | Siemens MindSphere | **CANUnited Asset Manager** |

|---------|------------------|------------------|-------------------|------------------------------|

| **Vendor Scope** | Schneider only | ABB only | Siemens + partners | **Multi-vendor by design** |

| **Cross-Asset Analytics** | Within Schneider family | Within ABB family | Limited | **Topology-aware across OEMs** |

| **Sensor Agnostic** | Schneider sensors optimized | ABB sensors optimized | Siemens sensors | **Universal protocol support** |

| **Health Normalization** | 1-5 Index (SE specific) | ABB grading | Siemens grading | **0-100 Universal + OEM native** |

| **Orchestration** | SE Service dispatch | ABB Service | Generic | **Multi-vendor service routing** |

| **Edge Hardware** | PAS600/800 required | Ability Edge required | Industrial Edge | **Bring Your Own Gateway** |

### 4.5 Implementation Phases (MVP → Full)

**Phase 1 (MVP - Months 1-6)**: Schneider + ABB support

- Core platform, PAS600 and ABB Edge integration

- Breaker and transformer monitoring for SE + ABB only

- Basic cross-vendor comparison dashboards

**Phase 2 (Months 7-12)**: Bosch + Generic expansion

- Bosch IoT Suite integration (sensor fusion)

- Modbus/BACnet universal adapters

- Advanced thermal/partial discharge analytics

**Phase 3 (Months 13-18)**: Intelligence Layer

- Cross-vendor failure correlation AI

- Predictive maintenance orchestration across OEM service networks

- AR mobile deployment

---

## 5. Technical Implementation Notes

### 5.1 Data Normalization Challenges

**The "Opening Time" Example**:

- Schneider reports: 45ms (acceptable: 40-60ms)

- ABB reports: 0.045s (acceptable: 0.04-0.06s)

- Normalization: Store as `mechanical_operation_time_ms` (integer), display with vendor-specific context

### 5.2 Edge Container Strategy

Deploy vendor-specific "Virtual Drivers" as Docker containers on universal gateways:

- `se-eaas-agent`: Handles Schneider-specific Zigbee clusters and PME protocols

- `abb-ability-agent`: Handles ABB CI cloud protocol

- `bosch-iot-agent`: MQTT bridge to Bosch IoT Hub

- All write to shared InfluxDB on edge → normalized → cloud

### 5.3 The "Schneider Compatibility Mode"

To ease transition for existing EAA-ED users:

- Import Schneider Health Index 1-5 scale as "legacy view"

- Map CL110 sensor data identically to avoid retraining technicians

- Provide "Schneider-only" dashboard view that mimics EAA-ED UI/UX exactly (reduce change management friction)

---

**Next Steps**:

1. Define API specifications for Vendor Adapter SDK (OpenAPI 3.0)

2. Build proof-of-concept with Schneider PAS600 + ABB Emax simulation

3. Develop Canonical Data Model v1.0 (aligned with IEC 61968/61970 CIM standards)

4. Establish OEM partnership agreements for cloud-to-cloud data sharing (critical for full functionality)

This architecture positions CANUnited as the definitive neutral platform for electrical asset management—extending the excellent concepts in EAA-ED (predictive analytics, IoT sensor fusion, expert service integration) across the entire industrial ecosystem.